## Blad1
Equipment | Name | Order number | Company
Tubes 1,5 ml for mix etc | Microcentrifuge tubes 1,5 ml with cap red | 5615003 | Ratiolab, Saveen & Werner
| Microcentrifuge tubes 1,5 ml with cap blue | 5615004 | Ratiolab, Saveen & Werner
Magnetic rack
PCR tubes 0,2 ml | MicroAmp optical 8-tube strip | N8010580 | Life Technologies
The following settings have been used
May 2017 version of protocol QIAseq Targeted DNA panel Handbook
Nuclease free water has been used to resuspend DNA
DNA quantification with Qubit flurometer 2.0
Table 8 | Volume/reaction (Standard, FFPE pr pure cfDNA)
Table 9 | Incubation time (standard DNA)
Table 10 | Volume/reaction, Standard DNA
Water and bead volumes in clean-up steps | According to "Standard DNA" option
Target Enrichment Table 13 | 1500-12 000 primer /tube
Universal PCR | According to table 15
Table 17 | Cycle number 19
Cleanup of Universal PCR | We normally need to repeat this step a number of times to reduce the adapter-dimer content (based on the Bioanalyzer QC)
Bioanalyzer has been used for QC
Sequencing
Pool 4nM libraries
Dilute to final library conc 10 PM and load for sequencing
Differences between protocol versions
| May 2017 | August 2021
Adapter ligation | Incubate at 20 °C for 15 min | 4°C for 1 min, 20°C for 15 min, 4°C hold
Direkt efter adapter ligation | Safe stopping point store in freezer for up to 3 days | Continue immediatley with clean-up
Clean-up Ethanol Wash | Rotate the tubes 2-3 times or move the plate side-to-side… | No rotate step, only Add EtOH and carefully remove
Second clean-up | Place the tubes/plate on a magnetic rack for 5 min | Place the tubes on magnetic rack for 5 min and plates for 10 min
After target enrichment PCR | Safe stopping point store in freezer for up to 3 days | Once the run has finished continue with clean-up
After Universal PCR | Safe stopping point store in freezer for up to 3 days | Once the run has finished continue with clean-up